## Ark1
Bill of Materials, Electrodeposition
Nis Fisker-Bødker, 16-04-2024
Tools | [5 empty] | Minimum viable product | Fully utilized openTron
| Item | Link | Cost per quantity | Quantity | Total
| Makita Driver Drill | https://www.amazon.ca/Makita-DHP482Z-Hammer-Driver-Drill/dp/B01C85KSVU/ref=sr_1_28?crid=F5G9IYR5EMYT&dib=eyJ2IjoiMSJ9.MGDHImtugDniBjhuAT6seFoaFR6jrXU_0L9clJVO3pLFM-DonT2AUNnfWKkbBi1lBVEpZCH16OPkQFUMVFuDgcFngVuXddo-ytbsSzIX6rdgf_kNLWpAqpWxtSFEg9LoH1PqFv_9uavcI9h2ezm96zBwIz9ard65034dE_z1iytIzH_GzC47thdP5ahNAB61wyFm8D3nGrNpbV0tOllZAq3T5fusaob1asg3Svb8l0xT4dMrK11I1YY2bOIk9kx9DaukeoInfHNvApGsce9oDEP8ndBcKSBOsuQR0je03ks.mEOIXd1qam3kW8oqRo0qwdDUpBqA7ElF6ZtKaSFT5Gc&dib_tag=se&keywords=makita+18v+tools&qid=1713270800&sprefix=makita%2Caps%2C339&sr=8-28 | 99.99 | 1 | 99.99
| Makita Battery | https://www.amazon.ca/Makita-Y-00309-Li-Ion-Battery-Charger/dp/B075SM1LHH/ref=sr_1_7?crid=3GB2YM8E10M27&dib=eyJ2IjoiMSJ9.uItBcEiDTw8_vlPFAIgsygNwCWZs670_pbAk1qt4OB6MViEXqXu2sJc9dThEwD82A1mZtia26G6GD_5jIxUGXYZ9hwhRf-ggntWghiazYFkuPIpJUWE0qVJ7N-Rqvg4gYlv3K50fRpk2ed7P_cwHYR8AxQpfmq_1B0T-0WamZum67pIhhrApM9ZK5Sw22ayByfHAmlykaOroKSHdpuIRkxGiMMI8ruYIR6ryw_W5t1kyjZud2NGW0KIWWnz2FEKDnyoJSUVK2IZWDyH_X5teWHdmZ0AjM3BNUB-SDzT-fXI.uoWoI40B9fbahGVmMDeCUOJEWeboM613E5iYVTMzHLw&dib_tag=se&keywords=makita+18v+battery&qid=1713270934&sprefix=makita+18v+battery%2Caps%2C163&sr=8-7 | 127 | 1 | 127
| Tap drill set | https://www.amazon.ca/Neiko-10059A-Combination-Change-Adapter/dp/B0762HJ3GF/ref=sr_1_7_mod_primary_new?crid=1KIUWP3VM24AQ&dib=eyJ2IjoiMSJ9.8KagfBXVBMyruN7fHFVWXHO4ip0khJnDrBt9F1Votb57_EoJctGsj2cfRGd7YYg4P4Lo_vUe7UKGfC14bxoebg-6zlNA5N-Iw-PvVdi0nxTjP64JE88- | 45 | 1 | 45
| Drill set | https://www.amazon.ca/Bosch-CO21-Cobalt-Metal-Drill/dp/B06XY7W87H/ref=sr_1_35?crid=1PG2NG2WYENJY&dib=eyJ2IjoiMSJ9.hZVMHu9E77GriNTe2wIfks0v8fZgneDWbRMHSoOMe56eLfwj8n0V97IyQhCU3FBwUuTTZjiBVb63E4AgTiEQzeibB2eu9h0pTnkuPrtuwN1DP-CQc4u5TELhN3IqG6WyGzIhHelHLMoYW11E73jEjxn1C25RyH_9B2OlNPK8Adz2VlAzs_h3oWYvkBV1_aqNkBzPeCsPFblp-bCjaZKd3XTq6bjIKtcSMJoYfSpyVZs5qz3OxhlZik_aetDcOfyxyFGHqOcsrfnrCFuNZnD_KVFMQN8XITPlmFxlKvZsOKI.QSI_MGGLnkZ4V3-X5Nvx5INUNDOTS4LrK5aluGiu_kY&dib_tag=se&keywords=industrial%2Bmetal%2Bdrill%2Bset%2Bmetric&qid=1713271348&sprefix=industrial%2Bmetal%2Bdrill%2Bset%2Bmetric%2B%2Caps%2C192&sr=8-35&th=1 | 55 | 1 | 55
| Conedrill etc | https://www.amazon.ca/NordWolf-12-Piece-Countersink-Automatic-Compatible/dp/B083NWL5D2/ref=sr_1_49?crid=1HPP4VNLOHWDR&dib=eyJ2IjoiMSJ9.9Tc6FYh4MQAlgsLe8Ju1yY6_E24xEsKNLofXg1NqvA0eUCN9E8EVnFgxy84vlcZIvdH9LJKOH9IjZCa0rg38yPqub4fE1GDE53a47qC3n3UmnEj_IACqPQhEXgTBm4LgKiqDoxPcuViZwpcW6-fc1oD2x-b7J3u4P7Fbs954tER5uE6NPIltayQrA2CHCJVUhDE_eyuX4bbg3POmW_4OtUfqUzwm93nKNa25H2H-tHPXe4kh-W2PA4klJivsQ5gSHFLthHcOG3OlGBK3hWFRswiqXQNMFAghfXYnF17qOM4.KKmBLtNiAwp_aEBrQa4oxQ6xRDYR7diBFDg3IC5judk&dib_tag=se&keywords=metric+metal+drill+set+case&qid=1713271233&sprefix=metircmetal+drill+set+case%2Caps%2C175&sr=8-49 | 60 | 1 | 60
| Metal saw | https://www.amazon.ca/Craftsman-Hand-12-Inch-Hacksaw-CMHT20138/dp/B07R92S9YZ/ref=sr_1_5?crid=HX3H6FREYCB9&dib=eyJ2IjoiMSJ9.iwuGhhebtcdTtCEfkCPVmX8xa9PDq7REt3wNfmO3Fv9jQ8473ehda_7ItsRYOkXgu--U8CyaNUBAZy7BcT0ZqMcI3hSWOTiy1qFUwZd0sIW1x440vbk3Pnfxdrn3sKFEJ3IiocAlMKpkrpyELF6p9hJyVZmqRUtysZlvueFtwiSHGt2I9CM6vI7vrBvXg9vXCwbWNLyG5PNRMvIfh64GBEo0vTXzTk3Czn8XzoK1ZiB8reoof72HzKN0iAMs0UaktXbCrAk39lTZtkg_7T65Brf157cF_3cJ-v2LoaBJ49A.0gOvbLW3uRwbLm_cD6-beH5YJXHOPX-c-VpH0n59-mg&dib_tag=se&keywords=metal+saw&qid=1713358354&sprefix=metal+sa%2Caps%2C196&sr=8-5 | 16 | 1 | 16
| Estimated freight |  |  |  | 40.299
| Total |  |  |  | 443.289
Hardware | Cartridge base
| Item | Link | Cost per quantity | Quantity | Total
| Aluminum base (bottom) | hubs.com | 110 | 2 | 220
| Aluminum base (top) | hubs.com | 110 | 2 | 220
| M3 8x8 Rubber shock absorbers | https://www.amazon.ca/Rubber-Absorber-Vibration-Silentblock-Bobbins/dp/B07H2BW3CX/ref=sr_1_8?crid=267N4B9UBNYXB&dib=eyJ2IjoiMSJ9.8gO2tPWo9aHdZFFSiq3ceJHqOsnKr1N5m0IiVoIg-UGOYuI5elcbLKH15bKOiGnWor2FSHH56vLo5qxFNl0l_WhEc1B077gHxsdsGL9L_-Zf5_YfZmlzd6t7BoRnBSysVjLE_YsGV4sUMfWNNI8pXINlfyR_0RWROCBlK-InEPrbPL4b3wwOXNFQchzZAT_T5EqnUdqIZpYN3QGxTjRaiq7Cg83W9npusfbFf5sloR_juaEqlsgCpfBj72W8ddudaXOa-5011UH9bomdPBm_T8tXafZaY3EcGG4--rA5VTk.ffmom9Q_qdfEzJMVI3YleoPOtH5N0Z9UTuZ4JCcBwkM&dib_tag=se&keywords=m3+rubber&qid=1713358153&sprefix=m3+rubber%2Caps%2C194&sr=8-8 | 9.17 | 2 | 18.34
| Ultrasonic transducer | https://www.amazon.ca/Baglaum-Ultrasonic-Transducer-Cleaning-Machines/dp/B0CRYQLTQN/ref=sr_1_6?crid=3NYXG1ULCLSLJ&dib=eyJ2IjoiMSJ9.v1ytqUVg9gIK9AW07uPl_FZ-jI06xiIQO56TRgZRiZH5T4hNJWfq6MpbfCDbGU-peBcG0UQrm40iuqI4uzfbnv6TlVOK32AU0CoeToZCTCWA1BkDzc-Q9DiFNouZsUvTdIXw4MpoKkL6AwRjM5ragNGSgtu5q9gl1KXFWZOxR2qbdQ7Knh4-U7rFyDUyAH14rLkhl-gTFke3-KSjYEMPzXMI4BBLTmyRhduZs_GjEfos65OYfZPEVlJ32Qq6vxt16AlLwrctFtBObzk2CtUAhXEV68j84AtGrCB8940DGig.KKrxZAbCzLf7KKEQ5dd_9TB6wA80VtnLvSKoiB9JEGA&dib_tag=se&keywords=ultrasonic+transducer&qid=1713356358&sprefix=ultrasonic+transduce%2Caps%2C210&sr=8-6 | 50.23 | 2 | 100.46
| Flat heating element 110V | https://www.amazon.ca/PTCYIDU-Insulated-Temperature-Thermostatic-Miniature/dp/B0CDKTLXWJ/ref=sr_1_4?crid=1AC3A6KSNF1S3&dib=eyJ2IjoiMSJ9.ZRZWSNLrXJ2LhCTWc6slYOF7ZSp9NsYAYXpxFFzHtTS3vFW4ZWbVpSHtqicBYTIkOzg9TbmrlUBncJ3I02fPRNSC-9HAGOMHEmtndu75sHo4KJUo9y23ZAwg9DPc8JMoA_lERP0KBFXyDO0EiDtgXGZDPC-of5iuWlbreY0Xl8vQEy7S9AmPgoq3ob-2vo3Mx9XnvB4sNJNW1cw7cH2mEddEzyXtblaz2umGqshND6Dx14eTnoSpj4OuJPk5_W96ESSyDDxe9SgcpDkY8k4Sx3xIEH2lZ07TLb9sERw2hoA.PnWWOQAaXPPfTsm0A4-4pAtSemol367TcfTHn_epgtU&dib_tag=se&keywords=Thermostatic%2BHeaters%2BPlate&qid=1713866956&sprefix=thermostatic%2Bheaters%2Bplate%2Caps%2C616&sr=8-4&th=1 | 26.92 | 2 | 53.84
| Pt100 thermocouple | https://www.sparkfun.com/products/251 | 17 | 2 | 34
| Temperature sensor MCP9600 | https://www.sparkfun.com/products/16295 | 22.5 | 2 | 45
| Nickel Pt100 sleeve (corossion resistant) | https://www.amazon.com/Temperature-Deep-Drawing-DS18B20-Thermowell-ThermocoupleProtection/dp/B0C61VT83G?th=1 | 20 | 1 | 20
| Aluminum rod ø10mm | https://www.amazon.ca/MECCANIXITY-Round-Aluminum-Diameter-Length/dp/B09Y24WWGP/ref=sr_1_5?crid=24NP09TTAYMU6&dib=eyJ2IjoiMSJ9.bcQ8EmhenBWuHv1WKbpRjEc-G9FuYoAjVyegS70a19gSI9P3YuXzt7Pp4gMBHL65LiaJH8AsQEyRkNafxKCcVzz3hkB5J9SvVfKFNIYeM7vmFn6AwIA0Hfs-jBfUbi6pFHi1nSFyd-v9pYAQ7WMmUmGRF06XDXx8myz-wtnxXclN88Z6J3HOpYucJTW0A5y-lQwC7OFG1Cd6btHSvKWtC-Av8XtSvMula36X5T1e4P5NQ-vGlG9JNNitwkXo3AmIvEVH1LxcBv_SgE4b1kEKq8-RMbOpo7Kvv-LWyDaZt5E.EvQg7iEx7U80Y1dz2tm3aAGIAtP-nyHLKsD9y391wu4&dib_tag=se&keywords=aluminum%2Brod%2B10mm&qid=1713356837&sprefix=aluminum%2Brod%2B10m%2Caps%2C188&sr=8-5&th=1 | 20 | 2 | 40
| M3, M4 screws flat head | https://www.amazon.ca/Hilitchi-460-Piece-Metric-Countersunk-Assortment/dp/B06Y3JDM4R/ref=sr_1_27?crid=IURQ8GQ2SNRQ&dib=eyJ2IjoiMSJ9.8ZpvmetF7s4DGjCG8vGGReUbEOBojLMzPhnbWtC2xcUtjp59sFsC3Hs3ZQzY8oOz7ox1JCCyyjtZgDD65nUjtIli34Z5rX4_SFWwwbspFxtks2NhJz7Q1dAibN2sa1SIzOmYtZ42hllPZpnq9qIcs83yjF0B_V8CVWkKKLpnNXJ63-1-SVx4jM3O0C3CqxLa9ZHu2sVPb5N4pnC3_mTkhrA1QGUIho2H-ye6ZqF1f5xVNWJxPqiN2FxDesngAEAKdDKRpGAS0JuwdZPU24slugESvDBaMuxnqqDtNBg-u4M.rtCZ7hsMJXLpRV9tbVeqTyg46a4MMHL7kKaga0OifGc&dib_tag=se&keywords=M4+screws+flat+head+304+stainless+steel&qid=1713357060&sprefix=m4+screws+flat+head+304+stainless+stee%2Caps%2C195&sr=8-27 | 23 | 1 | 23
| M4 threaded rod 60mm | https://www.amazon.ca/uxcell-Threaded-Stainless-Threads-M4-0-7/dp/B09L68MJJ5/ref=sr_1_15?crid=1OZVLT9M67BC2&dib=eyJ2IjoiMSJ9.EzC9iH7rvYxOI7eVKMeoj1DtOD2ZeBi0cP9hWq4gNt-M6L6eznXHxftEJOiBl6f0rHFh5_bkws7TTdcN0emC29s28x4cFmN5x0gPfr7hkFgSjBkWjjJLNESkkndn1O5f-ac9UkYT447u7bvV9NRtwUwJa_DTaZF7D_IS16wkSJkDNOR_aLHnE9XSTYhnXByZMn_hjNZfnOMmYl-acF47EMeD2lRFetssuBxb7W-qgdwL-NwaekZxCx1kh3DLDSqyXFEqfLdAgu9FDRcv7Q_EDYa6KsewXWsf_q13gtxlFEU.cwVLZ7KU1Q8x6IKMnKAqz0pG_rs1vLF50Vsl0dhjWEo&dib_tag=se&keywords=M4%2B304%2Bstainless%2Bsteel&qid=1713357125&sprefix=m4%2B304%2Bstainless%2Bsteel%2Caps%2C195&sr=8-15&th=1 | 9 | 1 | 9
| Sparkfun Arduino | https://www.sparkfun.com/products/18158 | 21.5 | 1 | 21.5
| Sparkfun LCD | https://www.sparkfun.com/products/16396 | 22 | 1 | 22
| Sparkfun AC Solid state relay 110V | https://www.sparkfun.com/products/16810 | 95 | 1 | 95
| Sparkfun Qwiic cable | https://www.sparkfun.com/products/15081 | 9 | 1 | 9
| M3, M4 washers | https://www.amazon.ca/260-Pcs-7-Size-QTEATAK-Stainless-Assortment/dp/B07LCB92CB/ref=sr_1_5?crid=AAAIR47AUZLA&dib=eyJ2IjoiMSJ9.tqavr4SmYyU4q7QGNVHuF1MdB8ks_BZtTC0lbEIRGa2HFpZ21AANW2I1O5jAzmkOtixP_zEZEN5XUb7x9KUWxGLAJIEfj8Oj_-k6E_DdRj_uudyNfnyDarcnLR1vgmjnHqsJt9MioSXkmJzf6W9dp8eZ9hlq6bEbZJzaYVMZnOHwSrS4VPlvif-N1AiEhqe_-K4y26cX77lSLG_rWt_QADAmpQNVgNS2U5BJaMgPHFPPyTu8WtVcmcZ9oRU9R5nK1cJT7jcNg9NqdBFzfBEfd-E7nQj_UUMAbRpw8SdcGZA.KEQdkfumN7BrqtwuwwSg_OjIrWmd3aZ_PEihzctRodo&dib_tag=se&keywords=M3+M4+washers+stainless&qid=1713361178&sprefix=m3+m4+washers+stainles%2Caps%2C186&sr=8-5 | 14 | 1 | 14
| M4 wing nut | https://www.amazon.ca/uxcell-Stainless-Fasteners-Hurrican-Butterfly/dp/B07QB5NKDG/ref=sr_1_5?crid=2CA00FYTHKJHB&dib=eyJ2IjoiMSJ9.l3LRILBaa5rms_CiSV1qF9NBcBJywg53l_TiL7jlE-Ed2xnUgtRI4u9SWS_HX78foM-Q4nH4kCkj5cdBqIEFNLGwMWJeXASvRUnBb9nrTcpmwjcOaMhO3SGWF2S9lw5zbvBtbVeOIj4GAXOPupa1o-OLp-2E04unkZN-P0H83hgZ-cQzhfY0Z29-vDPp86HmX2Q0xBr_mvxA7h5q4dbDW1roCDuBWuoLLVyFCyRof41m7b1a-MIe5b2zpJqy6zOQiAEzWdDWn65Qfpf3O_X8KupE8IaVRpLpzwaxoZxJwYc.IjR7NI8jkFVU4dLCsxfKjvAKM5La4prhRAVMD45zmGc&dib_tag=se&keywords=M4+wing+nut+stainless&qid=1713357224&sprefix=m4+wing+nut+stainles%2Caps%2C185&sr=8-5 | 13.5 | 1 | 13.5
| Heat paste | https://www.amazon.ca/BSFF-Compound-Heatsink-Processor-Performance/dp/B09NLXX61M/ref=sr_1_9?crid=2KT2OL3I8ACLQ&dib=eyJ2IjoiMSJ9.Z46W1qUbOP8m6IJo3viUhydMkimsvhFaSn5bM0LvK9xkdEB7PUJ_dH9xu5ny5GI6LxZI27CpQyJ8PDg_ynFtzoV3YQBFYi7kzOF1UibyiGqDvVWSHPyCXwMY7NjBnXNg_-H9vOXXnim6BJeigmiyJXZ0ukCzNCcuR_PdPUrt6eyL5ZCYssTWs9nrmDfiTiBO-MFYCIh0ck1hfi5Q8sJHBtQn2rmuwHoeEYa0DeQR5wO1d7g0UDX2SsAFO2LABqINmCBYhflI2lnaU_qUXY72_hQyYnZe2pBFBSv4JhSE528.5GaWVNujzCE3vXLclNrweG5w_E4yNtuEN_PDYqnYexU&dib_tag=se&keywords=thermal%2Bheat%2Bpaste&qid=1716472371&sprefix=thermal%2Bheat%2Bpaste%2Caps%2C86&sr=8-9&th=1 | 16 | 1 | 16
| Estimated freight |  |  |  | 95.864
| Total |  |  |  | 1070.504 | 1070.504 | 11775.544
Hardware | Well cartridge
| Item | Link | Cost per quantity | Quantity | Total
| Aluminum base | xometry.com | 110 | 1 | 110
| Nickel tape 0,2mm thickness | https://www.amazon.ca/GOONSDS-Nickel-Plate-Sheet-0-2x100x1000mm/dp/B09879LSZC/ref=sr_1_15?crid=14XQNS0DMAVF6&dib=eyJ2IjoiMSJ9.FRT5ru8jf5OTtuhQELo5ELMtjcbxpkvWaGF23YNTlisL2KD5SawO8vJkBJBBDWgPBuYrUjrJ9vOmSF2jlVSUCMYecIY6mrOYqZlAUqjlDzXhbagHjJpP_vpMMrFolIcbzDspkUyvHO3FySNxG2maa2YAdmRiwkA8RjsLgqFHPeaPUwV9BlG_fMOz7R0HpK68GGNwcSQaJNQaL6faEQORgUFQdP087itgrXag5E3H28WYQSgBJfSIJxa2YVRu-jC9TzAA5b_z_FlYgYKW28emHVJUitYKkQjvsEg3_5AlKJE.JCjc8FtUyWifHMQJAPU6nS8jQSAmOQIQX_hgT4vRTrM&dib_tag=se&keywords=nickel+sheet&qid=1713340932&sprefix=nickel+s%2Caps%2C321&sr=8-15 | 69 | 1 | 69
| Double sided tape | https://www.amazon.ca/Premium-Double-Sided-Adhesive-Tape/dp/B07B5YBN3Y/ref=sr_1_15?crid=3QURWNAPM82N9&dib=eyJ2IjoiMSJ9.DPQOEgKOPTblvlttf40c2pS1Tu-jYrlwWQ1SQcvEko3h5jC_VNhR7PAvpZSmBOuy08AVCZoRnP-pywGN4P6Gi4EoAvwN3gh-dmcoSOzIjwKqZDVcJfgzB7FowaNAfFGcm4eGXpjZErC-QivPDWP3Xnw8jOWgQzAJIce5S4Z5zBl2X5f9VMlwxun4eth7SJNqwRjBZ4FaxCnaeSJSeqjwBahkZKVPPonkKT4ZMTv0TLRDgtve9ukgZNKCeg_6J7KVev0RcFIlzQ7B6WxJMvo_IWZIhtQu0jtIZmrhixp48mQ.2i9AP3iM1jNEeRosDez3dnCwXVvwgLZ03lrPRW9E8jo&dib_tag=se&keywords=double%2Bsided%2Btape%2Bweek%2B100mm&qid=1713341334&sprefix=double%2Bsided%2Btape%2Bweek%2B100m%2Caps%2C194&sr=8-15&th=1 | 15.5 | 1 | 15.5
| Gasgets | https://www.amazon.ca/uxcell-Silicone-Ring-Width-Gasket/dp/B07CVJMN2M/ref=sr_1_11?crid=3116SQX37JZF3&dib=eyJ2IjoiMSJ9.GXVPbeedgrFo68I8jLeLg5SLF9ik4PS2vnCD-AyZuVNKW00Nb6Sm4Z2hqDz65DprOhNxRUYUUTkfB5rgUaIgObv2RRDzSSDnqkAWy0F9s2hvaHPFZTejoBWcnvbWEsqAm1FNYz_bATfiNFJTUY864BdJfVukVoYmHtTFBHe984Jnt7imrpBI-tK61s4xoW7AH1b0568TZb_MKjjaXRbvzbXg7OYNLcRnt0ztEJaPyQMSGOQdzytr-B29hemxrgctY2fO-Dk1Wb6PViXhBBZRnayLqNU2FKLLCyFGVSbj0Gs.QH3kaDyQ2wqqqWmWIBzitdMxCpwxeXOK1FlORkXsAS0&dib_tag=se&keywords=gasket+10mm+OD&qid=1713356223&sprefix=gasket+10mm+o%2Caps%2C194&sr=8-11 | 8.99 | 2 | 17.98
| PP plastic top | xometry.com | 376 | 1 | 376
| (alternatively PEEK) | hubs.com | 576 | 0 | 0
| Estimated freight |  |  |  | 58.848
| Total |  |  |  | 647.328 | 647.328 | 6473.28
Hardware | Robotic mount
| Item | Link | Cost per quantity | Quantity | Total
| Nickel rod ø 10mm | https://www.amazon.ca/RINGGLO-Antioxidant-Activity-Scientific-Experiment/dp/B0CCMD16QV/ref=sr_1_12?crid=2O5HHPC1WW2VR&dib=eyJ2IjoiMSJ9._fG6KhiMXS62VdJoY7ymNDvFELbprgyzPzvNd3dVzpxGqpqxvT1tryKcxJGBBgcr8HMN7sa1W8d8w3z1C2BGxiQb5v9MaDnTO6ysIzlnXVQgTDhsYY79hD6ot0DeXz-Lw5b5oT7im1nbgQocyMlFKgaMJl6wE8FAA2c-Iig9BrjzNgzQ8dcPWSUXfDaPjBEr377E_T4ZPhrvTxrX0aSB_DW5I_nKYBebBvlmZvzdqd5Aogep2yOgBm6h9OfjWI5AASQtL4MTIe6IdM37BItNsbQkdra35B11Dyc-fZOHB_o.tE8_-8IuYdoo36wS1PFBTBAd0jQUA5l0af6ZoTrRZ8Y&dib_tag=se&keywords=nickel%2Brod&qid=1713359154&sprefix=nickel%2Brod%2Caps%2C387&sr=8-12&th=1 | 35.87 | 1 | 35.87
| Mini Hydroflex reference electrode | https://gaskatel.de/en/shop/mini-hydrogen-reference-electrode-mini-hydroflex/ | 308 | 1 | 308
| Platinum electrode | https://www.amazon.ca/Platinum-Electrode-99-99-10mm-Customized-Specifications/dp/B0CP8XHCZ6/ref=sr_1_3?crid=2JYAAL8KIT4SS&dib=eyJ2IjoiMSJ9.RSMFI9LRQ096JKhSDabR4GGe0pngjxmfHc-VAlhFBE0esUJ2zoY9bzuT0zYKrk4uq4t-ScPtYvA9grx3OJG0Mg6nOuQ0YCJ4wU4Tv4vUd7AD_5A9Z_l3N6xS2oREZaQQiLarjv52qshPORgam29fVaiHBnwL5WdXNbYadUpaKdLIAyGL8dYQQhtAQ252qMQ9yCbDh9U5z0OQIyxo7t9SGvDyvJzToFROAyGnlolktmSvinu5OmoMN2reVy2HyUPjtewKr0E07oU7WTvXckpaDlLzjlc-SSD_FM3MjwhVAeo.W6vnkuLh3HtvGLSl3QxfL6hkYAglwkRUSWeZumi67Vc&dib_tag=se&keywords=platinum%2Bplate%2B1mm&qid=1713359323&sprefix=platinum%2Bplate%2B1m%2Caps%2C199&sr=8-3&th=1 | 285 | 1 | 285
| Platinum wire | https://www.amazon.ca/Platinum-Wire-gauge-99-9-6-inches/dp/B003E2Y2T6/ref=sr_1_4?crid=5K25IGU2ORCU&dib=eyJ2IjoiMSJ9.vZruHtKGxbCbAmKhf8PkwUDVxEdQ70SnaVSiidwvhHqLU35zeI-y0QsG8NkMxYs13rk6sTajJYtV75cCpXM3HOIH5Cn22swL4efPyx7mBbOOcvb-wcmtKlZ7y4qMz8244i9zbz9t8rMiNX07dv0VoZZfhPVIfuU-hP6ipFIW3x8_0AS3Ke8MX3E-e41NJ2XdGzVpdZ-q1hXm6fiubQcqP3TaNXDaFk5tupEHvscI1Kk-P7SMzIRI9g-PKSx1qnf07EdFk97umaiTktaDiRs5gCeIoZEEPZ9bobouz0jcwSE.kxrQhTVTOwipLxGwETDdQWOjWfpzBes3BxDPCy7FvDs&dib_tag=se&keywords=platinum%2Bwire&qid=1713360378&sprefix=platinum%2Bw%2Caps%2C199&sr=8-4&th=1 | 56 | 1 | 56
| Electrical wire | https://www.amazon.ca/CBAZY-Stranded-Flexible-Silicone-Electric/dp/B073RDG2J6/ref=sr_1_7?crid=1CDMOSJQAP7LM&dib=eyJ2IjoiMSJ9.fYGqqALtUv1-uuvcHoDN2s3wGN6n3CX9d58W6uNFMHAUa-QoavOEWUCYzWxIvDnaAP7RxHH86aCJjY0xfIC_o2ElH22RTPSIsWrYsHxsWFk27K20Vs4mv9YF20KIsLtFWVRllMCKmumSS8ojb3_sOPZ3toGfhsWEq9q2j79Ib1SGLlfrKYQUAUpsnJ8eQ5G466juvjKxWHsCSMl3gM_dJvq43orHmSbmUsCon6bPRLnk4zdjmTEjnZSLUuq9OiLFFHcQw1caDL-tW3rN0JKeP5LrHLLJV-BDiPgmUdqmwWQ.ArLyq_XOT4dXKBEgWVWDPFjPDxtg7NjEPOtTOlsr3G0&dib_tag=se&keywords=wire&qid=1713360553&sprefix=wire%2Caps%2C214&sr=8-7&th=1 | 25 | 1 | 25
| Solder connecters | https://www.amazon.ca/Connectors-Sopoby-Waterproof-Electrical-Automotive/dp/B07R4Z13P3/ref=sr_1_10?crid=1O5GU84TND1EC&dib=eyJ2IjoiMSJ9.GCr2VfPTLpH3DUTuJmc9uhTXQifUC-TJR43NexTwb_ErFc3LGW17Cvu1K6bMLtdZrc5SR3NUvdBnxnviVO0V3Nt_B46c_mjj3_7EBiZen6uVWt1n8mPrJOwIGrsm8bXOxj4vKkXaAdyvV2hTS2oogSuUnBTlXpEtjg-7Dfp2fXOd2SKn2Ur_rIOfqjhQZPy-G_oHRcEpZdYMcRnHGf75rUoE55cYwhD3bSERwn0wYVesIZ7y0T7UMdZSMaseZKo62YbLcPhCSeUy7DWiePZJgsVfVGXtyjxiFPCTvZeiW1k.aaZz2sJNEUuDwQnm5SWFLuuJdCEhqFoJxTfZW1JsNuo&dib_tag=se&keywords=electrical%2Bwire%2Bconnectors&qid=1713360665&sprefix=electrical%2Bwire%2Bconnector%2Caps%2C195&sr=8-10&th=1 | 30 | 1 | 30
| Wire connectors | https://www.amazon.ca/Compact-Splicing-Connector-Assortment-221-2401/dp/B0BXQG6RLQ/ref=sr_1_5?crid=WY66NQ6J90JR&dib=eyJ2IjoiMSJ9.1hAA6FSPmFS9fXbGARymJg4nPb-X2K4W5MnyWD6lDXSbLYYDxi9B7VCOn-1Ntb3_4EgLs1BhKzTCz9AdEBwlFN2HCLAlNQSdLnGEEcC1sRWMArmszK7wWsFiSy-QeoJzQjJYI19ydtUhUGe6pBwaamrc0fbohE3ZlgmGKK59Y6W7Rui80Zvwwc9gbKDFIPfNJk1r1TvlVCenYNDJRQgRw5wkdZdPWMVhHU5zVu8nMiDKOt11fR0hr-S9Fu9S7_JszI0T65eVbyAZUUPOmqqTqoZQXADWoAgtm-Y7cueZSIQ.siPl_N9CP05PSGU29m7WUyzwiKDvYQ28sNwCnYwYkUo&dib_tag=se&keywords=electrical%2Bwire%2Blever%2Bnut%2Bconnectors%2Bwago&qid=1713360734&sprefix=electrical%2Bwire%2Blever%2Bnut%2Bconnectors%2Bwago%2Caps%2C183&sr=8-5&th=1 | 58.42 | 1 | 58.42
| Banana plug terminals | https://www.amazon.ca/Speaker-Terminal-Binding-Adapter-Connector/dp/B07C2P4YNB/ref=sr_1_6?crid=B7PL1SD8WVFJ&dib=eyJ2IjoiMSJ9._MUI_wx-k6fkvCWCJbfV1dn2YZd66Y1cwGFgYT2yPvwECXAeUbJ4X788iufRU2rXBwCY-3uMns_dYbBq66F2jQLRCSKgKlPAMGp7izGV5lf0gNqQB0uvpOg73rYougtbLvEKHT-YbVwnwmvJAJgrslEEof5zAYNjdV0MDOESL5M_PAr5-u2VTNRTqOPCapRAs_16H_oC7XLWOu4nblFZ8IwJs2LLTAiFRiikq1no3hAvH6Xv9uVu0EuHxGrCz5vumQO4DbA2GZgJ9LiqZdzfE33moDqMgKCF-9UFgz8tvBU.JnnwZvDzQ5bKmVbxAlwWrdNLdxlCnwJf1dDOAvYNmyg&dib_tag=se&keywords=banana+terminal&qid=1713360772&sprefix=banana+terminal%2Caps%2C195&sr=8-6 | 12.09 | 1 | 12.09
| Hoop and loop tape | https://www.amazon.ca/gp/product/B0BZXMHKRB/ref=ewc_pr_img_1?smid=AHCEK5ZEJTURN&psc=1 | 24.99 | 1 | 24.99
| Single relay to switch between Counter and Reference | https://www.sparkfun.com/products/15093 | 20 | 1 | 20
| Qwiic multiplexer | https://www.sparkfun.com/products/18012 | 3 | 3 | 9
| Qwiic long cables | https://www.sparkfun.com/products/17257 | 3 | 3 | 9
| Cable shoes | https://www.amazon.ca/Disconnect-Electrical-Solderless-Connectors-Assortment/dp/B01E4RAVI0/ref=sr_1_30?crid=16G6OZZIWICZG&dib=eyJ2IjoiMSJ9.-ARh2SR-a_O7MkQ73_ilwl-Xf8oN7XhnxgOxkhVxvXE1jD7mWoiqSNQvP1Tp6-MG8bykAXRwFHdBMEGYJ9qEnHnuKR10Eo23OI26aAFmIFLl_iAXecV7WcgfQAwIGXl8KKcSv3jGJu-HF7-aTpr4VPmtF0deQOnMULxLZZiX4iFyIoPQ2jRfqR-1sTS_3qjR85g7FVR6k5iALKXJzuhepd6QLMh_zW_0xmDd1rvxUTiDG_eZ510glYmg2eL-nWbU7dhn2QNmEXBKxxq6vSKupAVkFoN_Hoarkliz1WJpWNg.WTaMjTRs4uvSOdvHPppFtiER7tDsHC9nzYmixu4L0j0&dib_tag=se&keywords=terminal+gauge&qid=1716475108&sprefix=terminal+gauge%2Caps%2C88&sr=8-30 | 22 | 1 | 22
| DC connector for quad relay | https://www.sparkfun.com/products/10287 | 3.5 | 2 | 7
| Plate for supporting electronics |  | 110 | 1 | 110
| Machine shop cut of 8x Ø10mm alu legs incl. tapping M3 |  | 80 | 1 | 80
| 3D printer filament |  | 40 | 2 | 80
| 3D resin printing of flush tool |  | 40 | 1 | 40
| Estimated freight |  |  |  | 81.038
| Total |  |  |  | 1293.408 | 1293.408 | 1293.408
Hardware | Cleaning cartridge
| Item | Link | Cost per quantity | Quantity | Total
| PP plastic top | xometry.com | 300 | 1 | 300
| Aluminum base | xometry.com | 110 | 1 | 110
| Peristaltic pump | https://www.amazon.ca/peristaltic-Kamoer-KPHM100-Service-high-Precision/dp/B09F69KYF3/ref=sr_1_16?crid=5GAJALPIL0GS&dib=eyJ2IjoiMSJ9.vAYx0G_WkWIOJGvsrnS0FPCAgrFcmpX8mA9SkLlOZ-Pw3IQwTOhoR9hOsHKF3jbuHlIJ8BXDMu53TX4GEd0fwKKw8pRvh2owBX4eZKAp2NJIREPFGqCoosHKCWeEb0XhKODKkNBQsxHNVC-RXR3UmZdIYA-5QS0ZuQOy3pBNzOCSeMB44Yi_KB0i87XH8p3n5FbACIsBCWongLp5orXRpONC0cyEBI7O1e_QgnReWz9-bUS1PugRuMjXi4PZo3xD9-9ji7wAnZmcKdvyq0Fok0Mqg9aZbdPEJHnYrzcxM-Q.UMeGD_KIbr4YFU-n7AuLL_XvVYJKZ6GgfDkIsVunR_k&dib_tag=se&keywords=Peristaltic+pump+12V&qid=1713361725&sprefix=peristaltic+pump+12%2Caps%2C192&sr=8-16 | 20 | 6 | 120
| Silicone tubing 5mm OD, 3mm ID | https://www.amazon.ca/Yesallwas-Silicone-Flexible-Rubber-Transfer/dp/B07S5LL4HR/ref=sr_1_4?crid=3I16KZAQDBD88&dib=eyJ2IjoiMSJ9.L2tq_S1-eVOePE2bnbUQHH-cLsbdoHtQZALoD_d6MW9faHkCUjNNY9-pA7zDVoY6mW6OXKIl9XLOJY2YoBtrvL0mnZ7R2_ESFWbqHuPI-qrkB3gzXvkMAYtv_cyj7z_2AEiKp3YpwfnWYfa7RkqRSDpj0uVJ3WTLDx66GCRHojlgfLSWyT298-Q3ci-_SDCyWkYW54DtlXIxkD0EXMfAvSOPoI9JlDU05SaCjfEsBb93KwGqB-u8f0wlYNiPegTMmPpqpysJCBwuTW6jKRz_F9qCcDJj4utduZTx4XW5b9k.V1hbUJXlWWkQAEok5l3UNqo9ogavK0k6lsCpnQ3-Q6w&dib_tag=se&keywords=silicone%2Btube%2B3ID%2B5%2Bmm%2BOD&qid=1713361933&sprefix=silicone%2Btube%2B3id%2B5%2Bmm%2Bod%2Caps%2C175&sr=8-4&th=1 | 16 | 1 | 16
| 12V DC supply | https://www.amazon.ca/Waterproof-Converter-Transformer-Voltage-3-Prong/dp/B08ZJZPF4Y/ref=sr_1_11?crid=148QVCOWJSVQD&dib=eyJ2IjoiMSJ9.pVNdY3VhcswWruZheCO2VIxbse3NJf0MeVpPiVFXl7IsObDf9EoaeGeZN42jmDSlPeO-cZxGP6_dLksbBQPWqZS5KCUrKc5S9-zXO2OAVDitSawc69fKN8EGGsfzGhJaWdcZOBv7y92-bu7_2bkv2rAbxUMqbJXuS-9MpiqOjsqRIBts8kpob1X1xjyC1MzVPyPB2ceYFDJBo5WLdeXCFWFVNqXFTs6iyma1iZw9rc1u1hBoa0Rih-7HhTA_09JpIW_43-GMyfnDyUXy65zIuEnmRHjYMS0Um7w4n0jkKUg.DFuOEokg8RjqfCuoEpmq9Jf9LRw-l116wxioQl425IU&dib_tag=se&keywords=12V%2BDC%2Btransformer&qid=1713361510&sprefix=12v%2Bdc%2Btransformer%2Caps%2C254&sr=8-11&th=1 | 44 | 1 | 44
| 12V relay | https://www.sparkfun.com/products/16566 | 32.5 | 2 | 65
| Cable zip ties | https://www.amazon.ca/BESTIN-Self-Locking-Black-Nylon-12-Inch/dp/B0977LP2KQ/ref=sr_1_9?crid=1ZF1K8YVDXLSB&dib=eyJ2IjoiMSJ9.Ab1_iMOf1to_ISpzkwhh2CcJLsvriuIqldLYEXKF3aAoS0B7ZGjQiHK0B0QOemlqmXvQausErulAZDaW0jkz2grnYEWh7pP_yKYp1tGr034ZIA9OZg2FHSCwslcSANbzdF8Ot348JeuID4HQOuWrL56EP7JLJXw41XVYu4Ep2TF6u9WwpBRW0nsnY4yQ00c9ymeP_1EO-cqplIRJq4CjsQCTmdvG_nc0DG7CcUHp7TjOrTc9OZuV81xY5c44X6iE86XjRTszEBz01T8IxAF0kvSWmXVnOQnBiVD6LzwL5yI.tpHpj0E-HBNYdAOk7cFD5DEwlwb3zDzS3dGTdxbfwJ0&dib_tag=se&keywords=cable+zip+ties&qid=1713362013&sprefix=cable+zip+tie%2Caps%2C240&sr=8-9 | 19 | 1 | 19
| Estimated freight |  |  |  | 67.4
| Total |  |  |  | 741.4 | 741.4 | 741.4
Chemicals | Consumables
| Item | Link | Cost per quantity | Quantity | Total
| 500 FeCl3 |  | 592 | 1 | 592
| 500g CoCl2 salt |  | 43 | 1 | 43
| 500g ZnCl3 |  | 108 | 1 | 108
| 100 g CuCl2 |  | 50 | 1 | 50
| 500g MnCl2 |  | 64 | 1 | 64
| 125g CrCl3 |  |  | 1 | 0
| 500g NiCl2 |  |  | 1 | 0
| 4L Ammonium hydroxide NH4OH |  |  | 1 | 0
| 500g potassium citrate |  |  | 1 | 0
| Hydrocloric aeid 1M / 1N 2L |  |  | 1 | 0
| DI water 8L |  |  | 1 | 0
| Bottles for chemicals 6+9 500ml |  | 64 | 2 | 128
| Chemstore misc. Like beakers, vials etc. |  | 206 | 1 | 206
| Estimated freight |  |  |  | 85.7
| Total |  |  |  | 1276.7 | 1276.7 | 1276.7
[6 empty] | 5029.34 | 21560.332